NORTH GILLIAM COUNTY RURAL FIRE PROTECTION DISTRICT

Regular Meeting

DATE:	November 10, 2025

TIME:	6:00 p.m.

PLACE:	1500 Railroad Avenue – North Gilliam Fire Hall

BOARD MEMEBERS PRESENT:	Skye Krebs(Zoom), Jerry Gabbey, Deacon Heideman(Zoom), Joe Patnode and Tim Jones

NOT PRESENT:

OTHER PRESENT	Jodi Claughton, Joe Claughton and City Fire Commissioner Mark Davidson

MEETING CALLED TO ORDER:  The regular meeting was called to order at 6:00 p.m. by Board Chairman Skye Krebs.

AGENDA:  The agenda was approved as presented.

MINUTES:  The Minutes of the October 13, 2025 regular meeting were approved as presented.

PUBLIC COMMENT:

No Public Comment

CHIEF’S REPORT:

The District Christmas party will be held on December 08, 2025 at 6:00 pm.  Food will be provided by the Broken Spoke.

Joe and Paul traveled to Central Point, Oregon to pick up the new water tender.  There are a few minor issues with it.

The summer staffing grant was payed out to volunteers in the October payroll. All of the available $35,000 was used.  There are 3 volunteers that will be receiving letters that they will be placed on the inactive roster due to not having enough of the mandatory training hours.

GILLIAM COUNTY FIRE SERVICE COORDINATOR’S REPORT:

- No report

CITY FIRE COMMISSIONER REPORT:

Fire Hydrants have been flushed.

Anderson and Perry, the City’s engineers, will be sending someone to inspect all of the City’s hydrants.

Inspections/testing should be done every 5 years.  Uncertain when the last time they were inspected.  Mark would like Joe to be part of the inspections with Anderson and Perry.  Joe agreed.

Mark stated that the City’s attorney feels that it is the Fire District’s responsibility to do the testing and inspections.  The City contracts with the Fire District for fire suppression.  No one at the District is certified to do these test and inspections and the hydrants are not the Districts.

There are currently 3 hydrants out of order.  The one at the Shell station needs to be replaced, a hydrant on W 3rd St needs repairs as does the one on the corner of Ivy St.

Some hydrants need updating to be compatible with the Districts equipment.

There was a concern with property owners having fences, vehicles, etc. too close to existing hydrants.  Joe has sent Shanna Gronquist, Public Works Superintendent, maps of all hydrant locations.

UNFINISHED BUSINESS:

Jodi is still contacting Auditors.  Has not found one as of this time.

NEW BUSINESS:

The District’s janitor has moved out of the area and is no longer able to clean the building.  Joe will hire a new janitor.

FINANCIAL REPORT AND BILLS:

A motion was made by Joe Patnode which was seconded by Jerry Gabbey to approve the bills and financial report as presented.  Jerry Gabbey – yes, Deacon Heideman – yes, Skye Krebs – yes, Joe Patnode - yes.  Tim Jones – yes. Motion Carried

With no further business the meeting was adjourned at 6:32 p.m.

Next meeting Date:  December 08, 2025

_______________________________________		_______________________________________

Skye Krebs – Board Chairman				Jodi Claughton – Executive Secretary